## Slide 1
InstructionText: “Press Play/Stop to start/stop the tone. Use the +/- buttons to adjust the output level until the flat plate reads [TargetLevel] dB SPL (+/- 3 dB). Press Next when done.”
Title: “Calibration: 1000 Hz”
Next
Target Level: [Current Target Level] dB SPL
Frequency: [Current Frequency] Hz
Ear Cup: [Current Ear Cup]
dB FS
Cal Factor
3
3

## Slide 2
Title: “Calibration: 1000 Hz”
InstructionText: “Enter the level reported by the flat plate. Press Submit when done.”
Submit
40.5
dB SPL
Flat Plate Measured Level:

## Slide 3
InstructionText: “Press Play/Stop to start/stop the tone. Then enter the level reported by the flat plate.”
Title: “Max Output: 1000 Hz”
Next
Frequency: [Current Frequency] Hz
Ear Cup: [Current Ear Cup]
40.5
dB SPL
Flat Plate Measured Level: